## Slide 1: Photoplethysmography Prototype
using IoT-based Sensors for Continuous and Non-invasive Measurement of Vital Health Parameters
Electronics Engineering (B. Tech)
Archit Soni (20095014) Shubhi Singh (20095112)
Nishanth Gounder (20095074)
Devanshu Agrawal (20095035)
Supervisor:
Dr. Priya Ranjan Muduli

## Slide 2
Component Ordering
Soldering
Circuit Assembly
3D Printing
Developing the Algorithm
Calibrating the Device
Previous Semester Timeline

## Slide 3
PCB Hardware
IoT Advancements
API Data Extraction
Startup Time Reduction
Algorithm Improvements
Calibrating the Device
Current Semester Timeline

## Slide 4
Existing Techniques
 | Pulse Oximeters | Smartwatches | ECG monitors | Our PPG device
IoT Device | ✗ | ✔ | ✗ | ✔
SpO2 | ✔ | ✔ | ✔ | ✔
BPM | ✔ | ✔ | ✔ | ✔
Accuracy | ✔ | ✗ | ✔ | ✔
Ease of use | ✔ | ✔ | ✗ | ✔
Pulse Oximeter

## Slide 5: 01 Components Used
The MAX30102 sensor is a tiny but powerful module used for non-invasive monitoring of blood oxygen saturation and heart rate. It combines LEDs, a photodetector, and signal processing for accurate readings
MAX30102 Sensor

## Slide 6: Components Used 02
The ESP32 Dev Board is a small, low-power, and versatile development board based on the ESP32 microcontroller. It has built-in WiFi and Bluetooth, making it ideal choice for IoT projects.
ESP 32 Dev Board

## Slide 7: 03 Components Used 04
The OLED display 128X64 is a small and high-contrast screen that uses organic light-emitting diodes to display graphics and text.
OLED 128X64 Display
A simple switch used to start the device.
Push Button

## Slide 8
Used EasyEDA software for schematic and PCB design.
Developed a double-layer PCB for the prototype.
PCB Hardware

## Slide 9
Circuit Schematic

## Slide 10
New Graphing Feature in IoT: Integrated heart rate (BPM) and oxygen saturation (SpO2) visualization with adjustable scaling options for users.
Scales Available:
Live
1 hour
6 hours
1 day
1 week
1 month
3 months
This offers a comprehensive way to monitor and analyze health data dynamically.
IoT Advancements: Graphing

## Slide 11
API Data Extraction
Enhanced IoT Data Retrieval:
Now, the IoT component supports API calls and data extraction through a Python script.
Users can conveniently convert the BPM and SpO2 data into CSV format, facilitating analysis and enhancing versatility in accessing health data.
API call JSON response
CSV generated by Python script

## Slide 12
Achieved notable optimization in the device's performance, reducing the initial reading time from 15 seconds to 6 seconds.
This enhancement improves user efficiency, offering quicker access to essential data and making the device more responsive and user-friendly.
Startup Time Reduction

## Slide 13
The prototype can detect if a finger isn’t placed on the sensor module.
Two Modes for Finger Detection:
Temporary Pause Mode: Briefly lifting the finger freezes readings; upon reapplication, readings resume.
Reset Mode: If the finger is removed for around 5 seconds or more, the device resets to the initial screen. We can adjust this time threshold.
No Finger Mode

## Slide 14
Demonstration Video

## Slide 15
Now let’s take a closer look at the display

## Slide 16
No Finger Detection Demonstration

## Slide 17: Thank You